## 132 kV UG cables
ODISHA POWER TRANSMISSION CORPORATION LIMITED
Bid Identification No. ICB Document No: OPTCL/ADB-OPSEAP/2014/Package-I
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 1 - Plant and Mandatory Spare Parts Supplied from Abroad
Item | Description | Country of Origin | Unit | Qty. | Unit Price1 |  | Total Price1 | Taxes and Duties
[5 empty] | Foreign Currency | CIF or CIP | Foreign Currency | Local Currency
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 6 | 9
1 | Supply of 132 kV Underground Cable XLPE insulated Single Core 800 sq. mm Copper and Single Core 630 sq.mm Copper.
1.1 | Supply of Single Core 800 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical specification. |  | Kms | 88.3
1.2 | Supply of Single Core 630 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical Specification. |  | Kms | 70
1.3 | Supply of Straight joint for single Core XLPE insulated Single Core XLPE 800 sq. mm. Copper Cable as per Technical specification. |  | Nos | 168
1.4 | Supply of Straight joint for Single Core XLPE insulated 630 sq. mm. Copper Cable as per Technical specification. |  | Nos | 132
1.5 | Supply of Outdoor Heat shrink type termination joint for Single Core XLPE 800 sq. mm. Copper Cable as per Technical Specification |  | Nos | 12
1.6 | Supply of Outdoor Heat shrink type termination joint for Single Core XLPE 630 sq. mm. Copper Cable as per Technical specification |  | Nos | 12
1.7 | Supply of High Density Polyethylene(HDPE) pipe 14 inch diameter for Road/Railway crossing |  | Kms | 15.6
1.8 | Supply of 132 kV Cable trench Slab/Tiles of Size 36 inch X 18 inch RCC type |  | Kms | 47
1.9 | Supply of 132KV Bay materials and equipments LA, C.B, C.T, CVT,S.I, D.I with E/S, Control cables as per requirement including Control Relay Panels , and Structures for bay and all equipments for extension of bays in Substations with Civil foundation for connecting 132 kV Cables as per Technical specification |  | Nos | 4
1.1 | Supply of 132KV Hybrid type Gas insulated Outdoor Feeder Bay units provision for two Bus (Main & Transfer) and feeder connectivity with 132kV XLPE Underground Cable 800 Sqmm & 630 Sqmm Cu with Civil foundation as per Technical specification |  | Nos | 2
TOTAL Column 8 to be carried forward to Schedule No. 5. Grand Summary
Name of Bidder
Signature of Bidder
Country of Origin Declaration Form
Item | Description |  |  |  |  | Country
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 2 - Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
Item | Description | Unit | Qty | EXW Unit Price1 | Total EXW Price1 | Sales Tax | Total Sales Tax | Entry | Total Entry Tax | Total Price
[6 empty] | (CST/VAT) | (CST/VAT) | Tax
1 | 2 | 3 | 4 | 5 | 6=4X5 | 7 | 8=5x7 | 9 | 10=4x9 | 11=6+8+10
1 | Supply of 132 kV Underground Cable XLPE insulated Single Core 800 sq. mm Copper and Single Core 630 sq.mm Copper.
1.1 | Supply of Single Core 800 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical specification. | Kms | 88.3
1.2 | Supply of Single Core 630 sq. mm. Copper conductor, XPLE insulated cable with extruded semi conducting screen and corrugated Al Sheath including loop & Jointing as per Technical Specification. | Kms | 70
1.3 | Supply of Straight joint for single Core XLPE insulated Single Core XLPE 800 sq. mm. Copper Cable as per Technical specification. | Nos | 168
1.4 | Supply of Straight joint for Single Core XLPE insulated 630 sq. mm. Copper Cable as per Technical specification. | Nos | 132
1.5 | Supply of Outdoor Heat shrink type termination joint for Single Core XLPE 800 sq. mm. Copper Cable as per Technical Specification | Nos | 12
1.6 | Supply of Outdoor Heat shrink type termination joint for Single Core XLPE 630 sq. mm. Copper Cable as per Technical specification | Nos | 12
1.7 | Supply of High Density Polyethylene(HDPE) pipe 14 inch diameter for Road/Railway crossing | Kms | 15.6
1.8 | Supply of 132 kV Cable trench Slab/Tiles of Size 36 inch X 18 inch RCC type | Kms | 47
1.9 | Supply of 132KV Bay materials and equipments LA, C.B, C.T, CVT,S.I, D.I with E/S, Control cables as per requirement including Control Relay Panels , and Structures for bay and all equipments for extension of bays in Substations with Civil foundation for connecting 132 kV Cables as per Technical specification | Nos | 4
1.1 | Supply of 132KV Hybrid type Gas insulated Outdoor Feeder Bay units provision for two Bus (Main & Transfer) and feeder connectivity with 132kV XLPE Underground Cable 800 Sqmm & 630 Sqmm Cu with Civil foundation as per Technical specification | Nos | 2
TOTAL Column 6 tobe carried forward to Schedule No. 5. Grand Summary
Name of Bidder
Signature of Bidder
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 4 - Installation and Other Services
Item | Description | Unit | Qty. | Unit Price1 |  | Total Price1 |  | Unit Service Tax | Total Service Tax
|  |  |  | Local Currency Portion | Foreign Currency Portion | Local Currency Portion | Foreign Currency Portion | Local Currency Portion | Local Currency Portion
1 | 2 | 2 | 3 | 4 | 5 | 6=3x4 | 7=3x5 | 8 | 9
1 | Transporting, Storing, Laying, Testing and Commissioning of 132 kV Underground Cable XLPE insulated Single Core 800 sq. mm and Single Core 630 sq.mm Copper.
1.1 | Transporting, Storing, Laying, Testing and Commissioning of132 kV Cable laying through open trench method 132 kV Single Core Cable 800 Sq mm and 630 Sq mm Copper | Kms | 46.8
1.2 | Transporting, Storing, Laying, Testing and Commissioning of132 kV Underground Cable laying through Micro Tunneling HDD method | Kms | 5.2
1.3 | Transporting, Storing, Testing and Commissioning of Straight through jointing of Single Core XLPE 800 sq. mm. Copper Cable | Nos | 56
1.4 | Transporting, Storing, Testing and Commissioning of Straight through jointing of Single Core XLPE 630 sq. mm. Copper Cable | Nos | 44
1.5 | Transporting, Storing, Testing and Commissioning of Termination jointing of Single Core XLPE insulated 800 sq. mm. Copper Cable | Set | 4
1.6 | Transporting, Storing, Testing and Commissioning of Termination jointing of Single Core XLPE insulated 630 sq. mm. Copper Cable | Set | 4
1.7 | Making, Transporting, Storing, and laying of RCC slab/tile size - 36inchX18 inch covering over Cable trench | Kms | 47
1.8 | Reconstruction of damaged Road and other utilities to bring it's original shape after laying of cable in open trench. | Kms | 47
1.9 | Marking of Underground Cable route including Civil works (As per requirement) | Kms | 52
1.1 | Transporting, Storing, Erection, Testing and Commissioning of 132KV Bay materials and equipments LA, C.B, C.T, CVT,S.I, D.I with E/S, Control cables as per requirement including Control Relay Panels , with Structures for bay and all equipments for extension of bays in Substations with Civil foundation for connecting 132 kV Cables as per Technical specification | Nos | 4
1.11 | Transporting, Storing, Erection, Testing and Commissioning of 132KV Hybrid type Gas insulated Outdoor Feeder Bay units provision for two Bus (Main & Transfer) and feeder connectivity with 132kV XLPE Underground Cable 800 Sqmm & 630 Sqmm Cu with Civil foundation as per Technical specification | Nos | 2
TOTAL Columns 6 and 7 tobe carried forward to Schedule No. 5. Grand Summary
Name of Bidder
Signature of Bidder
Schedules of Rates and Prices
Package-I (LOT-2)
Schedule No. 5 - Grand Summary
Schedule No. | Title | Total 1
|  | Foreign | Local
1 | Plant and Mandatory Spare Parts Supplied from Abroad
2 | Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country
3 | Design Services
4 | Installation and Other Services
GRAND TOTAL to be carried forward to Letter of Bid
NOTE: | Kindly enclose soft copy of the duly filled schedule in a CD with the priced copy of Bid.